## Sheet1
CU_NO | DESC_LINE_1 | DESC_LINE_2 | CU_TYPE | CU_STATUS | CONST_CODE
IG22DP3500 | IG22DP3/5/000 Isol Gen P/Top, 22kV | , D/Pin, 3ph, 100x100 Xarm, No Cond. | M7 | A | IG22DP3/5/000
IG22F335000 | IG22FP3/35/000 Isol Gen P/Top, 22kV | , F/Pin, 3ph, 100x100 CF Xarm, No Cond. | M7 | A | IG22FP3/35/000
IG22F335FLU | IG22FP3/35/FLU Isol Gen P/Top, 22kV | , F/Pin, 3ph, 100x100 CF Xarm, Fluorine. | M7 | A | IG22FP3/35/FLU
IG22FP3500 | IG22FP3/5/000 Isol Gen P/Top, 22kV | , F/Pin, 3ph, 100x100 Xarm, No Cond. | M7 | A | IG22FP3/5/000
IG22FP35FR | IG22FP3/5/FLU Isol Gen P/Top, 22kV | , F/Pin, 3ph, 100x100 Xarm, Fluorine | M7 | A | IG22FP3/5/FLU
IG22S328DS00 | IG22S3/28D/S/000 Isol Gen P/Top, 22kV | , Strain 3ph, 125mm CF DXarm Syn No Cond | M7 | A | IG22S3/28D/S/000
IG22S328DSFL | IG22S3/28D/S/FLU Isol Gen P/Top, 22kV | , Strain 3ph, 125mm CF DXarm, Syn, Flu | M7 | A | IG22S3/28D/S/FLU
IG22S328S000 | IG22S3/28/S/000 Isol Gen P/Top, 22kV | , Strain 3ph,125mm CF Xarm, Syn, No Cond | M7 | A | IG22S3/28/S/000
IG22S328SFLU | IG22S3/28/S/FLU Isol Gen P/Top, 22kV | , Strain 3ph,125mm CF Xarm, Syn, FLU | M7 | A | IG22S3/28/S/FLU
IG22S37DS00 | IG22S3/7D/S/000 Isol Gen P/Top, 22kV | , Strain, 3ph,150x100 DXarm, Syn, No Con | M7 | A | IG22S3/7D/S/000
IG22S37S00 | IG22S3/7/S/000 Isol Gen P/Top, 22kV | , Strain, 3ph,150x100 Xarm, Syn, No Cond | M7 | A | IG22S3/7/S/000
IG22S37SFR | IG22S3/7/S/FLU/R Isol Gen P/Top, 22kV | , Strain, 3ph,150x100 Xarm, Syn, Fluorin | M7 | A | IG22S3/7/S/FLU/R
IG22T328DS00 | IG22T3/28D/S/000 Isol Gen P/Top, 22kV | , Term 3ph, 125mm CF DXarm, Syn No Cond | M7 | A | IG22T3/28D/S/000
IG22T328DSFL | IG22T3/28D/S/FLU Isol Gen P/Top, 22kV | , Term 3ph, 125mm CF DXarm, Syn, Flu | M7 | A | IG22T3/28D/S/FLU
IG22T328S000 | IG22T3/28/S/000 Isol Gen P/Top, 22kV | , Term 3ph,125mm CF Xarm, Syn, No Cond | M7 | A | IG22T3/28/S/000
IG22T328SFLU | IG22T3/28/S/FLU Isol Gen P/Top, 22kV | , Term 3ph,125mm CF Xarm, Syn, Flu | M7 | A | IG22T3/28/S/FLU
IG22T37DS00 | IG22T3/7D/S/000 Isol Gen P/Top, 22kV | , Term 3ph, 150x100 DXarm, Syn, No Cond. | M7 | A | IG22T3/7D/S/000
IG22T37S00 | IG22T3/7/S/000 Isol Gen P/Top, 22kV | , Term 3ph, 150x100 Xarm, Syn, No Cond. | M7 | A | IG22T3/7/S/000
IG22T37SFR | IG22T3/7/S/FLU/R Isol Gen P/Top, 22kV | , Term 3ph, 150x100 Xarm, Syn, Fluorine | M7 | A | IG22T3/7/S/FLU/R
IG33DP35000 | IG33DP3/5/000 Isol Gen P/Top, 33kV | , D/Pin, 3ph, 100x100 Xarm, No Cond. | MA | A | IG33DP3/5/000
IG33FP335000 | IG33FP3/35/000 Isol Gen P/Top, 33kV | , F/Pin, 3ph, 100x100 CF Xarm, No Cond. | MA | A | IG33FP3/35/000
IG33FP335FLU | IG33FP3/35/FLU Isol Gen P/Top, 33kV | , F/Pin, 3ph, 100x100 CF Xarm, Fluorine. | MA | A | IG33FP3/35/FLU
IG33FP35000 | IG33FP3/5/000 Isol Gen P/Top, 33kV | , F/Pin, 3ph, 100x100 Xarm, No Cond. | MA | A | IG33FP3/5/000
IG33S328DS00 | IG33S3/28D/S/000 Isol Gen P/Top, 33kV | , Strain 3ph,125mm CF DXarm, Syn No Cond | MA | A | IG33S3/28D/S/000
IG33S328DSFL | IG33S3/28D/S/FLU Isol Gen P/Top, 33kV | , Strain 3ph,125mm CF DXarm, Syn, FLU | MA | A | IG33S3/28D/S/FLU
IG33S328S000 | IG33S3/28/S/000 Isol Gen P/Top, 33kV | , Strain 3ph,125mm CF Xarm, Syn, No Cond | MA | A | IG33S3/28/S/000
IG33S328SFLU | IG33S3/28/S/FLU Isol Gen P/Top, 33kV | , Strain 3ph,125mm CF Xarm, Syn, FLU | MA | A | IG33S3/28/S/FLU
IG33S37DS000 | IG33S3/7D/S/000 Isol Gen P/Top, 33kV | , Strain, 3ph,150x100 DXarm, Syn, No Con | MA | A | IG33S3/7D/S/000
IG33S37S000 | IG33S3/7/S/000 Isol Gen P/Top, 33kV | , Strain, 3ph,150x100 Xarm, Syn, No Cond | MA | A | IG33S3/7/S/000
IG33T328DS00 | IG33T3/28D/S/000 Isol Gen P/Top, 33kV | , Term 3ph,125mm CF DXarm, Syn No Cond | MA | A | IG33T3/28D/S/000
IG33T328DSFL | IG33T3/28D/S/FLU Isol Gen P/Top, 33kV | , Term 3ph,125mm CF DXarm, Syn, FLU | MA | A | IG33T3/28D/S/FLU
IG33T328S000 | IG33T3/28/S/000 Isol Gen P/Top, 33kV | , Term 3ph,125mm CF Xarm, Syn, No Cond | MA | A | IG33T3/28/S/000
IG33T328SFLU | IG33T3/28/S/FLU Isol Gen P/Top, 33kV | , Term 3ph,125mm CF Xarm, Syn, FLU | MA | A | IG33T3/28/S/FLU
IG33T37DS000 | IG33T3/7D/S/000 Isol Gen P/Top, 33kV | , Term 3ph, 150x100 DXarm, Syn, No Cond. | MA | A | IG33T3/7D/S/000
IG33T37S000 | IG33T3/7/S/000 Isol Gen P/Top, 33kV | , Term 3ph, 150x100 Xarm, Syn, No Cond. | MA | A | IG33T3/7/S/000
IGA101-10 | IGA101-10 Pole Step (Screw-in) to Wood | Pole (Additional) | AO | A | IGA101-10
IGA106-10 | IGA106-10 Connection, Neutral Terminal | to Crossarm | AO | A | IGA106-10
IGA106-15 | IGA106-15 Connection, Neutral Terminal | to Wood Pole | AO | A | IGA106-15
IGA106-3 | IGA106-3 Fuse Switch, 630A LV Open Wire | to X-arm | AO | A | IGA106-3
IGA109-1 | IGA109-1 Bracket,Transformer Mounting | and LV Fuse Arm to Wood Pole | AO | A | IGA109-1
IGA11-5 | IGA11-5 Bracket, (32mm x 6mm) | Service Fuse to Wood Pole | AO | A | IGA11-5
IGA13-10 | IGA13-10 Saddle (20mm) to Wood pole |  | AO | A | IGA13-10
IGA14-1 | IGA14-1 Saddle Cu. 10mm To Suit 35mm2 | to Wood Pole | AO | A | IGA14-1
IGA14-2 | IGA14-2 Saddle Cu. 13mm To Suit 70mm2 | Cable to Wood Pole | AO | A | IGA14-2
IGA151-13 | IGA151-13 Wood Pole, 11.0m 5kN (Screw-in | Polesteps) | AO | A | IGA151-13
IGA151-15 | IGA151-15 Wood Pole, 11.0m 8kN (Screw-in | Polesteps) | AO | A | IGA151-15
IGA151-17 | IGA151-17 Wood Pole, 11.0m 12kN Screw-in | Polesteps | AO | A | IGA151-17
IGA151-21 | IGA151-21 Wood Pole, 12.5m 5kN (Screw-in | Polesteps) | AO | A | IGA151-21
IGA151-23 | IGA151-23 Wood Pole, 12.5m 8kN (Screw-in | Polesteps) | AO | A | IGA151-23
IGA151-25 | IGA151-25 Wood Pole, 12.5m 12kN Screw-in | Polesteps | AO | A | IGA151-25
IGA151-29 | IGA151-29 Wood Pole, 14.0m 5kN (Screw-in | Polesteps) | AO | A | IGA151-29
IGA151-31 | IGA151-31 Wood Pole, 14.0m 8kN (Screw-in | Polesteps) | AO | A | IGA151-31
IGA151-33 | IGA151-33 Wood Pole, 14.0m 12kN Screw-in | Polesteps | AO | A | IGA151-33
IGA161-3 | IGA161-3 Service Fuse Bracket to Wood | Pole | AO | A | IGA161-3
IGA2035-9 | IGA2035-9 Bolt & Nut M20x325 to | Concrete Pole. Page 2035 | AO | A | IGA2035-9
IGA2046-3 | IGA2046-3 EDO Fuse Switch (100A) | 11/12.7/22kV to Composite X-Arm (100) | AO | A | IGA2046-3
IGA21-1 | IGA21-1 Mounting, X-arm LV Single (100) | to Wood Pole | AO | A | IGA21-1
IGA21-2 | IGA21-2 Mounting, X-arm LV Single (150) | to Wood Pole | AO | A | IGA21-2
IGA21-3 | IGA21-3 Mounting, X-arm LV Single (125) | to Wood Pole | AO | A | IGA21-3
IGA217-1 | IGA217-1 Brace Double Predrilled Comp | Fibre X-arm (100) and Wood Pole | AO | A | IGA217-1
IGA22-1 | IGA22-1 Brace, Double to LV X-arm | (100 or 150) and Wood Pole | AO | A | IGA22-1
IGA22-5 | IGA22-5 Brace, Single to LV X-arm (100) | & Wood Pole | AO | A | IGA22-5
IGA23-1 | IGA23-1 Pin, LV to X-arm |  | AO | A | IGA23-1
IGA23-10 | IGA23-10 LV Bridging Open Wire Trans. |  | AO | A | IGA23-10
IGA24-1 | IGA24-1 Term, LV to Single (100) X-arm |  | AO | A | IGA24-1
IGA24-10 | IGA24-10 Strain, LV to Single X-arm | -100 | AO | A | IGA24-10
IGA26-3 | IGA26-3 Hook Bolt to Wood Pole (300mm) |  | AO | A | IGA26-3
IGA26-5 | IGA26-5 Pole Mounted Plant to Wood Pole | (M20 Mtg Bolt & Washers) | AO | A | IGA26-5
IGA29-1 | IGA29-1 Mounting, Xarm Single Predrilled | (100or150) 11/22/33kV to Wood Pole | AO | A | IGA29-1
IGA29-3 | IGA29-3 Mounting, Xarm Single Predrilled | (125) 11/22/33kV to Wood Pole | AO | A | IGA29-3
IGA32-3 | IGA32-3 Mounting, Xarm Double Predrilled | (150x100) 11/22/33kV to Wood Pole | AO | A | IGA32-3
IGA33-1 | IGA33-1 Armbrace, Single to Predrilled | X-arm (100) and Wood Pole | AO | A | IGA33-1
IGA34-1 | IGA34-1 Armbrace, Double to Predrilled | X-arm (100) and Wood Pole | AO | A | IGA34-1
IGA34-2 | IGA34-2 Armbrace, Double to Predrilled | X-arm (150) and Wood Pole | AO | A | IGA34-2
IGA35-6 | IGA35-6 Bolt Combiner to Double X-arm | -700 | AO | A | IGA35-6
IGA36-13 | IGA36-13 Eyebolt M20 to LV Wood Pole | (400mm) | AO | A | IGA36-13
IGA36-3 | IGA36-3 Eyebolt M20 to HV Wood Pole |  | AO | A | IGA36-3
IGA36-4 | IGA36-4 Eyebolt M24 to HV Wood Pole | (400mm) | AO | A | IGA36-4
IGA37-1 | IGA37-1 Bracket, Poletop to Wood Pole |  | AO | A | IGA37-1
IGA39-1 | IGA39-1 Mounting, Xarm (100) and Poletop | Bracket to Wood Pole | AO | A | IGA39-1
IGA40-3 | IGA40-3 Pin, 22/33kV Insulator to | 100 Undrilled X-arm | AO | A | IGA40-3
IGA41-3 | IGA41-3 Pin, 22/33kV Insulator to | 100-150 Predrilled X-arm | AO | A | IGA41-3
IGA42-1 | IGA42-1 Pin, 22/33kV Insulator to | Poletop Bracket | AO | A | IGA42-1
IGA45-2 | IGA45-2 Insulator, 22kV Synthetic - | Termination with Aluminium Thimble | AO | A | IGA45-2
IGA45-3 | IGA45-3 Insulator, 33kV Synthetic - | Termination with Aluminium Thimble | AO | A | IGA45-3
IGA51-1 | IGA51-1 Stay Bracket to Wood Pole |  | AO | A | IGA51-1
IGA64-1 | IGA64-1 Guard, Wildlife | to Wood Pole | AO | A | IGA64-1
IGA66-1 | IGA66-1 Bridging Support, LVABC Single | to Wood Pole | AO | A | IGA66-1
IGA66-3 | IGA66-3 Cable Support to Wood Pole |  | AO | A | IGA66-3
IGA73-14 | IGA73-14 Coachscrew, M16 x 130 to Wood | Pole | AO | A | IGA73-14
IGA74-5 | IGA74-5 Eyebolt, M20 | to Predrilled 150 X-arm | AO | A | IGA74-5
IGA79-1 | IGA79-1 LV Supported Shackle to X-arm |  | AO | A | IGA79-1
IGLVA350000 | IGLVA/3/50/000 Isol Gen P/Top, LV O/Wire | , Angle, No Cond Fits | M2 | A | IGLVA/3/50/000
IGLVBA495 | IGLVBA/495 Isol Gen P/Top, LV ABC | , Angle, 4x95mm2 | M2 | A | IGLVBA/495
IGLVBI495 | IGLVBI/495 Isol Gen P/Top, LV ABC | , Intermediate, 4x95mm2 | M2 | A | IGLVBI/495
IGLVBS495 | IGLVBS/495 Isol Gen P/Top, LV ABC | , Strain, 4x95mm2 | M2 | A | IGLVBS/495
IGLVBT495 | IGLVBT/495 Isol Gen P/Top, LV ABC | , Termination, 4x95mm2 | M2 | A | IGLVBT/495
IGLVP170000 | IGLVP1/70/000 Isol Gen P/Top LV Pin 1Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP1/70/000
IGLVP170LIB | IGLVP1/70/LIB Isol Gen P/Top LV Pin 1Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP1/70/LIB
IGLVP170MAR | IGLVP1/70/MAR Isol Gen P/Top LV Pin 1Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP1/70/MAR
IGLVP170MOO | IGLVP1/70/MOO Isol Gen P/Top LV Pin 1Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP1/70/MOO
IGLVP170PLU | IGLVP1/70/PLU Isol Gen P/Top LV Pin 1Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP1/70/PLU
IGLVP270000 | IGLVP2/70/000 Isol Gen P/Top LV Pin 2Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP2/70/000
IGLVP270LIB | IGLVP2/70/LIB Isol Gen P/Top LV Pin 2Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP2/70/LIB
IGLVP270MAR | IGLVP2/70/MAR Isol Gen P/Top LV Pin 2Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP2/70/MAR
IGLVP270MOO | IGLVP2/70/MOO Isol Gen P/Top LV Pin 2Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP2/70/MOO
IGLVP270PLU | IGLVP2/70/PLU Isol Gen P/Top LV Pin 2Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP2/70/PLU
IGLVP350000 | IGLVP/3/50/000 Isol Gen P/Top, LV O/Wire | , Pin, No Cond Fits | M2 | A | IGLVP/3/50/000
IGLVP370000 | IGLVP3/70/000 Isol Gen P/Top LV Pin 3Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP3/70/000
IGLVP370LIB | IGLVP3/70/LIB Isol Gen P/Top LV Pin 3Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP3/70/LIB
IGLVP370MAR | IGLVP3/70/MAR Isol Gen P/Top LV Pin 3Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP3/70/MAR
IGLVP370MOO | IGLVP3/70/MOO Isol Gen P/Top LV Pin 3Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP3/70/MOO
IGLVP370PLU | IGLVP3/70/PLU Isol Gen P/Top LV Pin 3Ph | C/Fibre X-arm 2400x100x100 | M2 | A | IGLVP3/70/PLU
IGLVS171000 | IGLVS1/71/000 Isol Gen P/T LV Strain 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS1/71/000
IGLVS171LIB | IGLVS1/71/LIB Isol Gen P/T LV Strain 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS1/71/LIB
IGLVS171MAR | IGLVS1/71/MAR Isol Gen P/T LV Strain 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS1/71/MAR
IGLVS171MOO | IGLVS1/71/MOO Isol Gen P/T LV Strain 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS1/71/MOO
IGLVS171PLU | IGLVS1/71/PLU Isol Gen P/T LV Strain 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS1/71/PLU
IGLVS271000 | IGLVS2/71/000 Isol Gen P/T LV Strain 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS2/71/000
IGLVS271LIB | IGLVS2/71/LIB Isol Gen P/T LV Strain 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS2/71/LIB
IGLVS271MAR | IGLVS2/71/MAR Isol Gen P/T LV Strain 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS2/71/MAR
IGLVS271MOO | IGLVS2/71/MOO Isol Gen P/T LV Strain 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS2/71/MOO
IGLVS271PLU | IGLVS2/71/PLU Isol Gen P/T LV Strain 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS2/71/PLU
IGLVS351000 | IGLVS/3/51/000 Isol Gen P/Top, LV O/Wire | , Strain, No Cond Fits | M2 | A | IGLVS/3/51/000
IGLVS371000 | IGLVS3/71/000 Isol Gen P/T LV Strain 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS3/71/000
IGLVS371LIB | IGLVS3/71/LIB Isol Gen P/T LV Strain 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS3/71/LIB
IGLVS371MAR | IGLVS3/71/MAR Isol Gen P/T LV Strain 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS3/71/MAR
IGLVS371MOO | IGLVS3/71/MOO Isol Gen P/T LV Strain 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS3/71/MOO
IGLVS371PLU | IGLVS3/71/PLU Isol Gen P/T LV Strain 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVS3/71/PLU
IGLVT171000 | IGLVT1/71/000 Isol Gen P/Top LV Term 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT1/71/000
IGLVT171LIB | IGLVT1/71/LIB Isol Gen P/Top LV Term 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT1/71/LIB
IGLVT171MAR | IGLVT1/71/MAR Isol Gen P/Top LV Term 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT1/71/MAR
IGLVT171MOO | IGLVT1/71/MOO Isol Gen P/Top LV Term 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT1/71/MOO
IGLVT171PLU | IGLVT1/71/PLU Isol Gen P/Top LV Term 1Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT1/71/PLU
IGLVT271000 | IGLVT2/71/000 Isol Gen P/Top LV Term 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT2/71/000
IGLVT271LIB | IGLVT2/71/LIB Isol Gen P/Top LV Term 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT2/71/LIB
IGLVT271MAR | IGLVT2/71/MAR Isol Gen P/Top LV Term 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT2/71/MAR
IGLVT271MOO | IGLVT2/71/MOO Isol Gen P/Top LV Term 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT2/71/MOO
IGLVT271PLU | IGLVT2/71/PLU Isol Gen P/Top LV Term 2Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT2/71/PLU
IGLVT351000 | IGLVT/3/51/000 Isol Gen P/Top, LV O/Wire | , Termination, No Cond Fits | M2 | A | IGLVT/3/51/000
IGLVT371000 | IGLVT3/71/000 Isol Gen P/Top LV Term 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT3/71/000
IGLVT371LIB | IGLVT3/71/LIB Isol Gen P/Top LV Term 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT3/71/LIB
IGLVT371MAR | IGLVT3/71/MAR Isol Gen P/Top LV Term 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT3/71/MAR
IGLVT371MOO | IGLVT3/71/MOO Isol Gen P/Top LV Term 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT3/71/MOO
IGLVT371PLU | IGLVT3/71/PLU Isol Gen P/Top LV Term 3Ph | C/Fibre X-arm 2400x125x125 | M2 | A | IGLVT3/71/PLU
IGLVTP271000 | IGLVTP2/71/000 I/Gen P/Top LV Term Pole | 2Ph O/W C/F X-arm 2400x125x125 | M2 | A | IGLVTP2/71/000
IGS19P000 | IGS19P/000 Poletop, 19.1kV SWER | Intermediate, No Conductor Fittings | MD | A | IGS19P/000
IGS19SB000 | IGS19S/B/000 Poletop, 19.1kV SWER Strain | , B&S, No Conductor Fittings | MD | A | IGS19S/B/000
IGS19TB000 | IGS19T/B/000 Poletop, 19.1kV SWER | Termination, B&S, No Conductor Fittings | MD | A | IGS19T/B/000
IGS19TTB000 | IGS19TT/B/000 Poletop, 19.1kV SWER | Term/Term, B&S, No Conductor Fittings | MD | A | IGS19TT/B/000