## Sheet1
Compatible Unit Listing
System: | Ellipse - Energex Prod
Req By: | ZR003
Date: | 2026-09-29
Time: | 0.47061
Parameter Values:
CU Type: | ES
CU Status: | A
CU Number | Status | Type | Type Description | Description 1 | Description 2 | Creation Date | Modified Date
2CTLVDBST | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | PARRALLEL CT FOR STROMBERG LV DISTRIBUTI | 2CTLVDBST | 2001-07-03 | 2015-11-19
400LVDBCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 400 AMP CIRCUIT FOR STROMBERG LV BOARD | 400LVDBCT | 2001-07-03 | 2009-07-31
630LVDBCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 630 AMP CIRCUIT FOR LV BOARD STROMBERG | 630LVDBCT | 2001-07-03 | 2009-07-31
CIM006 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | RMU LUCY FRMU | CIM006 | 2003-02-20 | 2015-11-23
CIM007 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | RMU MERLIN GERIN RM6 630A (2I2CB) | CIM007 | 2003-02-20 | 2015-11-23
CIM008 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | RMU NU-LEC RM6 630A W/CONC PLINTH | CIM008 | 2003-02-20 | 2015-11-23
CPSS/CV001 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sub Yard Bulk Civil Works - Very Small | # CPSS/CV001 | 2014-06-15 | 2019-09-13
CPSS/CV002 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sub Yard Bulk Civil Works - Small | # CPSS/CV002 | 2014-06-06 | 2019-09-13
CPSS/CV003 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sub Yard Bulk Civil Works - Medium | # CPSS/CV003 | 2014-06-06 | 2019-09-13
CPSS/CV004 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sub Yard Bulk Civil Works - Large | # CPSS/CV004 | 2014-06-06 | 2019-09-13
CPSS/CV005 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sub Yard Bulk Civil Works - Very Large | # CPSS/CV005 | 2014-06-06 | 2019-09-13
DS130-111 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 11KV ID RMU - SAFELINK TYPE CCC | DS130-111 | 2007-11-22 | 2023-09-27
DS200-1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB 1600A 315-750TRF EGX TOP/CUST BOT | DS200-1 | 2007-02-15 | 2023-01-25
DS200-10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV OD CUB NO BASE 3150A IS+4SF+CUST ISOL | DS200-10 | 2010-06-28 | 2023-01-25
DS200-11 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOLATOR 3150A 1000-1500TRF TOP ENTRY | DS200-11 | 2014-08-01 | 2026-02-20
DS200-12 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOL 3150A 4x 630A FuseBase TOP ENTRY | DS200-12 | 2019-12-12 | 2023-01-25
DS200-13 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/D STD 1600A750(750)TRF DS200-13 | DS200-13 | 2022-03-18 | 2022-03-18
DS200-14 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/D UPG 1600A750(750)TRF DS200-14 | DS200-14 | 2022-03-18 | 2022-03-18
DS200-15 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROS1600A750(750)TRF DS200-1 | DS200-15 | 2022-03-18 | 2022-03-18
DS200-16 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROU1600A750(750)TRF DS200-1 | DS200-16 | 2022-03-18 | 2022-03-18
DS200-17 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROS1600A750(500)TRF DS200-1 | DS200-17 | 2022-03-18 | 2022-03-18
DS200-18 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROU1600A750(500)TRF DS200-1 | DS200-18 | 2022-03-18 | 2022-03-18
DS200-19 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROS1600A750(315)TRF DS200-1 | DS200-19 | 2022-03-18 | 2022-03-18
DS200-2 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB 3150A 1000-1500 TRF BOT ENTRY | DS200-2 | 2007-02-15 | 2023-01-25
DS200-20 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROU1600A750(315)TRF DS200-2 | DS200-20 | 2022-03-18 | 2022-03-18
DS200-21 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DSTD3200A1500(1500)TRF DS200-21 | DS200-21 | 2022-03-18 | 2022-03-18
DS200-22 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DUPG3200A1500(1500)TRF DS200-22 | DS200-22 | 2022-03-18 | 2022-03-18
DS200-23 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBI/D RETROU1600A750(315)TRF DS200-2 | DS200-23 | 2022-03-18 | 2022-03-18
DS200-24 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DUPG3200A1500(1000)TRF DS200-24 | DS200-24 | 2022-03-18 | 2022-03-18
DS200-25 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DSTD3200A1500(750)TRF DS200-25 | DS200-25 | 2022-03-18 | 2022-03-18
DS200-26 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DSTD3200A1500(750)TRF DS200-25 | DS200-26 | 2022-03-18 | 2022-03-18
DS200-27 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DSTD3200A1500(500)TRF DS200-27 | DS200-27 | 2022-03-18 | 2022-03-18
DS200-28 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DUPG3200A1500(500)TRF DS200-28 | DS200-28 | 2022-03-18 | 2022-03-18
DS200-29 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DSTD3200A1500(315)TRF DS200-29 | DS200-29 | 2022-03-18 | 2022-03-18
DS200-3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB 3150A 1000-1500 TRF TOP ENTRY | DS200-3 | 2007-02-15 | 2023-01-25
DS200-30 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB I/DUPG3200A1500(315)TRF DS200-30 | DS200-30 | 2022-03-18 | 2022-03-18
DS200-31 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DSTD3200A1500(1500) DS200-31 | DS200-31 | 2022-03-18 | 2022-03-18
DS200-32 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DUPG3200A1500(1500) DS200-32 | DS200-32 | 2022-03-18 | 2022-03-21
DS200-33 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DSTD3200A1500(1000) DS200-33 | DS200-33 | 2022-03-21 | 2022-03-21
DS200-34 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DUPG3200A1500(1000) DS200-34 | DS200-34 | 2022-03-21 | 2022-03-21
DS200-35 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DSTD3200A1500(750) DS200-35 | DS200-35 | 2022-03-21 | 2022-03-21
DS200-36 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DUPG3200A1500(750) DS200-36 | DS200-36 | 2022-03-21 | 2022-03-21
DS200-37 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DSTD3200A1500(500) DS200-37 | DS200-37 | 2022-03-21 | 2022-03-21
DS200-38 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DUPG3200A1500(500) DS200-38 | DS200-38 | 2022-03-21 | 2022-03-21
DS200-39 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DSTD3200A1500(315) DS200-39 | DS200-39 | 2022-03-21 | 2022-03-21
DS200-4 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOLATOR 3150A 1000-1500TRF TOP ENTRY | DS200-4 | 2007-02-15 | 2012-05-09
DS200-40 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV TXISOL I/DUPG3200A1500(315) DS200-40 | DS200-40 | 2022-03-21 | 2022-03-21
DS200-41 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV O/D ENCL EXTD BASE 1500KVA DS200-41 | DS200-41 | 2022-03-21 | 2022-03-21
DS200-42 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVSWBO/DEBSTD3200A1500(1500)TRF DS200-42 | DS200-42 | 2022-03-21 | 2022-03-21
DS200-43 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVSWBO/DEBUPG3200A1500(1500)TRF DS200-43 | DS200-43 | 2022-03-21 | 2022-03-21
DS200-44 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVSWBO/DEBSTD3200A1500(1000)TRF DS200-44 | DS200-44 | 2022-03-21 | 2022-03-21
DS200-45 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVSWBO/DEBUPG3200A1500(1000)TRF DS200-45 | DS200-45 | 2022-03-21 | 2022-06-29
DS200-46 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBSTD3200A1500(750)TRF DS200-46 | DS200-46 | 2022-03-21 | 2022-03-21
DS200-47 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBUPG3200A1500(750)TRF DS200-47 | DS200-47 | 2022-03-21 | 2022-03-21
DS200-48 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBSTD3200A1500(500)TRF DS200-48 | DS200-48 | 2022-03-21 | 2022-03-21
DS200-49 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBUPG3200A1500(500)TRF DS200-49 | DS200-49 | 2022-03-21 | 2022-03-21
DS200-5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOLATOR 3150A 1000-1500TRF BOT ENTRY | DS200-5 | 2007-02-15 | 2014-08-01
DS200-50 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBSTD3200A1500(315)TRF DS200-50 | DS200-50 | 2022-03-21 | 2022-03-21
DS200-51 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWBO/DEBUPG3200A1500(315)TRF DS200-51 | DS200-51 | 2022-03-21 | 2022-03-21
DS200-52 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(1500)TRF DS200-52 | DS200-52 | 2022-03-21 | 2022-03-21
DS200-53 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DUPG3200A1500(1500)TRF DS200-53 | DS200-53 | 2022-03-21 | 2022-03-21
DS200-54 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(1000)TRF DS200-54 | DS200-54 | 2022-03-21 | 2022-03-21
DS200-55 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(1000)TRF DS200-54 | DS200-55 | 2022-03-21 | 2022-03-21
DS200-56 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(750)TRF DS200-56 | DS200-56 | 2022-03-21 | 2022-03-21
DS200-57 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DUPG3200A1500(750)TRF DS200-57 | DS200-57 | 2022-03-21 | 2022-03-21
DS200-58 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DUPG3200A1500(750)TRF DS200-57 | DS200-58 | 2022-03-21 | 2022-03-21
DS200-59 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DUPG3200A1500(500)TRF DS200-59 | DS200-59 | 2022-03-21 | 2022-03-21
DS200-6 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOLATOR 3150A EGX BOT,CUST TOP ENTRY | DS200-6 | 2010-06-28 | 2012-05-09
DS200-60 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(315)TRF DS200-60 | DS200-60 | 2022-03-21 | 2022-03-21
DS200-61 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SWB O/DSTD3200A1500(315)TRF DS200-60 | DS200-61 | 2022-03-21 | 2022-03-21
DS200-7 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ISOLATOR 3150A EGX TOP,CUST BOT ENTRY | DS200-7 | 2010-06-28 | 2012-05-09
DS200-8 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV OD CUBICLE FOR LV BOARD (EMPTY) | DS200-8 | 2010-06-28 | 2012-05-09
DS200-9 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV OD CUBICLE 3150A ISOL+4SF+CUST ISOL | DS200-9 | 2010-06-28 | 2023-01-25
DS300-1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 300MM2 LV CABLE /M | DS300-1 | 2007-04-13 | 2015-11-23
DS400-1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | REDUCING STUDS (11KV RMU TERM) | DS400-1 | 2007-04-13 | 2015-11-23
DSBUREGK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | BURIED EARTH MODEL-USE WITH DSGT4EGS/6EG | DSBUREGK | 1993-10-22 | 2015-11-23
DSEGSR | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD SHORT EARTH ROD TO DSGT4EGS/DSGT6EGS | DSEGSR | 1998-11-25 | 2017-02-10
DSGT2EGLA | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD LONG EARTH RODS (EG GROUND TFMR) | DSGT2EGLA | 1998-11-25 | 2017-02-10
DSGT4EGS | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID SHORT (4 EARTHS RMU OR TFMRS) | DSGT4EGS | 1998-11-25 | 2017-02-10
DSGT6EGS | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID SHORT (6 EARTHS RMU & TFMR) | DSGT6EGS | 1998-11-25 | 2017-02-10
DSGTCT15B | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1500KVA CT & MDI KIT FOR TFMR ON C165/93 | DSGTCT15B | 1998-04-03 | 2015-11-23
DSGTCTBKT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | BKT FOR ATTACHING CT ON TFMR ON C165/93 | DSGTCTBKT | 1995-02-15 | 2015-11-23
DSGTEFB10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1000KVA ABB DRY TYPE TFMR ACCESSORIES | DSGTEFB10 | 2006-08-29 | 2015-11-23
DSGTEFB15 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1500KVA ABB DRY TYPE TFMR ACCESSORIES | DSGTEFB15 | 2006-08-29 | 2015-11-23
DSGTEFB3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 300KVA ABB DRY TYPE TFMR ACCESSORIES | DSGTEFB3 | 2006-08-29 | 2015-11-23
DSGTEFB5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 500KVA ABB DRY TYPE TFMR ACCESSORIES | DSGTEFB5 | 2006-08-29 | 2015-11-23
DSGTEFB7 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 750KVA ABB DRY TYPE TFMR ACCESSORIES | DSGTEFB7 | 2006-08-29 | 2015-11-23
DSGTEGS | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID SHORT (GROUND TRANSFORMERS)OD | DSGTEGS | 1998-11-25 | 2017-02-10
DSGTFB10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TFMR LV FLEXIBLE LEAD KIT FOR 1000KVA | DSGTFB10 | 1999-02-17 | 2015-11-23
DSGTFB15 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TFMR LV FLEXIBLE LEAD KIT FOR 1500KVA | DSGTFB15 | 1999-02-17 | 2015-11-23
DSGTFB3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TFMR LV FLEXIBLE LEAD KIT FOR 300KVA | DSGTFB3 | 1999-02-17 | 2015-11-23
DSGTFB5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TFMR LV FLEXIBLE LEAD KIT FOR 500KVA | DSGTFB5 | 1999-02-17 | 2015-11-23
DSGTFB7 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TFMR LV FLEXIBLE LEAD KIT FOR 750KVA | DSGTFB7 | 1992-07-16 | 2015-11-23
DSGTLVSD | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV SURGE DIVERTER KT FOR GT TRANSFORMER | DSGTLVSD | 1998-04-03 | 2015-11-23
DSGTMSIGN | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HAZARD SIGNS - COMMERCIAL & INDUSTRIAL | DSGTMSIGN | 2006-09-27 | 2015-11-23
DSGTSEGL | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID LONG (GROUND TRANSFORMERS) OD | DSGTSEGL | 1998-11-25 | 2017-02-10
DSGTSSIGN | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SIGNS FOR GT ENCLOSURES USING COLOURBOND | DSGTSSIGN | 1994-07-15 | 2015-11-23
DSGTTCR10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1000KVA Tesar Aircooled TFMR ACCESSORIES | DSGTTCR10 | 2011-07-15 | 2021-03-30
DSGTTCR15 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1500KVA Tesar Aircooled TFMR ACCESSORIES | DSGTTCR15 | 2011-07-15 | 2021-03-30
DSGTTCR3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 315KVA Tesar Aircooled TFMR ACCESSORIES | DSGTTCR3 | 2011-07-15 | 2021-03-30
DSGTTCR5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 500KVA Tesar Aircooled TFMR ACCESSORIES | DSGTTCR5 | 2011-07-15 | 2021-03-30
DSGTTCR7 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 750KVA Tesar Aircooled TFMR ACCESSORIES | DSGTTCR7 | 2011-07-15 | 2021-03-30
DSHVF1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-100KVA PMT OR TFMR | DSHVF1 | 1993-10-01 | 2015-11-23
DSHVF10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-1000KVA LOW IMP TFM | DSHVF10 | 1993-10-01 | 2015-11-23
DSHVF10A | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU 1000KVA HIGH IMP TF | DSHVF10A | 2003-09-04 | 2015-11-23
DSHVF10AH | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU 1000KVA HIGH IMP TF | DSHVF10AH | 2003-09-04 | 2015-11-23
DSHVF10H | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-1000KVA HIGH IMP TF | DSHVF10H | 1993-10-01 | 2015-11-23
DSHVF10SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK1000KVA PMT TFMR AIR/TEM | DSHVF10SLK | 2002-03-08 | 2015-11-23
DSHVF15 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-1500KVA LOW IMP TFM | DSHVF15 | 1993-10-01 | 2015-11-23
DSHVF15A | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU 1500KVA LOW IMP TFM | DSHVF15A | 2003-09-04 | 2015-11-23
DSHVF15H | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-1500KVA HIGH IMP TF | DSHVF15H | 1993-10-01 | 2015-11-23
DSHVF15SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK RMU 1500KVA LOW IMP TFM | DSHVF15SLK | 2008-11-20 | 2015-11-23
DSHVF1SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK100KVA PMT TFMR AIR/TEMP | DSHVF1SLK | 2002-03-08 | 2015-11-23
DSHVF2 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-200KVA TFMR | DSHVF2 | 1999-04-23 | 2015-11-23
DSHVF2SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK200KVA PMT TFMR AIR/TEMP | DSHVF2SLK | 2002-03-08 | 2015-11-23
DSHVF3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-300KVA PMT OR TFMR | DSHVF3 | 1999-04-23 | 2015-11-23
DSHVF3A | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-300KVA PMT OR TFMR | DSHVF3A | 1999-04-23 | 2015-11-23
DSHVF3SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK315KVA PMT TFMR AIR/TEMP | DSHVF3SLK | 2002-03-08 | 2015-11-23
DSHVF5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-500KVA PMT OR TFMR | DSHVF5 | 1999-04-23 | 2015-11-23
DSHVF5A | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-500KVA PMT OR TFMR | DSHVF5A | 1999-04-23 | 2015-11-23
DSHVF5SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK500KVA PMT TFMR AIR/TEMP | DSHVF5SLK | 2002-03-08 | 2015-11-23
DSHVF7 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB-750KVA LOW IMP TFMR | DSHVF7 | 1999-04-23 | 2015-11-23
DSHVF7A | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-750KVA HIGH Z TFMR | DSHVF7A | 1999-04-23 | 2015-11-23
DSHVF7AH | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-750KVA HIGH Z TFMR | DSHVF7AH | 2003-09-04 | 2015-11-23
DSHVF7H | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (OIL)RMU ABB- 750KVA HIGH IMP TF | DSHVF7H | 1993-10-01 | 2015-11-23
DSHVF7SLK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE SAFELINK750KVA PMT TFMR AIR/TEMP | DSHVF7SLK | 2002-03-08 | 2015-11-23
DSHVFA05 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ- 50KVA TRANSFORMER | DSHVFA05 | 1993-10-01 | 2015-11-23
DSHVFA2 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-200KVA PMT | DSHVFA2 | 1993-10-01 | 2015-11-23
DSHVFA3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-300KVA PMT | DSHVFA3 | 1993-10-01 | 2015-11-23
DSHVFA5 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | HV FUSE (AIR)RMU HAZ-500KVA PMT | DSHVFA5 | 1993-10-01 | 2015-11-23
DSIDTFMRCOMM | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | L&T FOR COMM A INDOOR TRANSFORMER | DSIDTFMRCOMM | 1993-10-14 | 2015-11-23
DSIDTFMRINS | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | L&T TO INSTALL A TRANSFORMER INDOORS | DSIDTFMRINS | 1995-02-02 | 2026-08-05
DSLVF12 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 125A FOR ABB LV BD | DSLVF12 | 1993-09-21 | 2015-11-23
DSLVF120 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1200A LV FUSE - FUSE-SWITCH DISCONNETOR | DSLVF120 | 1995-11-24 | 2015-11-23
DSLVF16 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 160A FOR ABB LV BD | DSLVF16 | 1992-05-22 | 2015-11-23
DSLVF25 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 250A FOR ABB LV BD | DSLVF25 | 1992-05-22 | 2015-11-23
DSLVF31 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 315A FOR ABB LV BD | DSLVF31 | 1997-02-12 | 2015-11-23
DSLVF352 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV Fuse Link 355A DIN Size 2 | DSLVF352 | 2025-07-31 | 2025-07-31
DSLVF40 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 400A FOR ABB LV BD | DSLVF40 | 1997-02-12 | 2015-11-23
DSLVF63 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 630A FOR ABB LV BD | DSLVF63 | 1992-05-22 | 2015-11-23
DSLVFRK1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | B/E LV CABLE STAND & AL COVER DIST SUBS | DSLVFRK1 | 1995-12-08 | 2015-11-23
DSLVFRK2 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | T/E LV CABLE STAND+AL COV UP 750 D SUB | DSLVFRK2 | 1995-12-08 | 2015-11-23
DSLVFRK3 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | B/E LV CABLE STAND ETC/750KVA TFMR &OVER | DSLVFRK3 | 1995-12-08 | 2015-11-23
DSLVFRK4 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | T/E LV CABLE STAND+AL COV 750+ D SUB | DSLVFRK4 | 1998-03-24 | 2015-11-23
DSLVLINKS250 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 250A DIN 1 | DSLVLINKS250 | 2018-06-20 | 2018-06-20
DSLVLINKS400 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 400A DIN 2 | DSLVLINKS400 | 2018-06-20 | 2018-06-20
DSLVSF12W | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 1200A WEBER | DSLVSF12W | 1995-11-24 | 2015-11-23
DSLVSF4 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 400A FOR ABB | DSLVSF4 | 1995-11-24 | 2015-11-23
DSLVSF4W | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 400A WEBER | DSLVSF4W | 1995-11-24 | 2015-11-23
DSLVSF6 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 630A FOR ABB | DSLVSF6 | 1994-11-23 | 2015-11-23
DSLVSF6W | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 630A WEBER | DSLVSF6W | 1995-11-24 | 2015-11-23
DSLVSF8W | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE-SWITCH DISCONNECTOR 800A WEBER | DSLVSF8W | 1995-11-24 | 2015-11-23
DSMESH2F2T | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFEPLUS MESH POINT RMU 2FDR 2TFMR | DSMESH2F2T | 2007-03-06 | 2015-11-23
DSMESH2F3T | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFEPLUS MESH POINT RMU 2FDR 3TFMR | DSMESH2F3T | 2007-03-06 | 2015-11-23
DSMESH3F3T | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFEPLUS MESH POINT RMU 3FDR 3TFMR | DSMESH3F3T | 2006-09-25 | 2015-11-23
DSNORMINSTAL | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | MATERIALS TO INSTALL NO OIL RMU | DSNORMINSTAL | 1997-06-24 | 2015-11-23
DSPMSE | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SEPARATE EARTH KIT FOR PADMOUNTED TR | DSPMSE | 2001-01-08 | 2015-11-23
DSPMTEG | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID (PADMOUNT TRANSFORMERS) | DSPMTEG | 1999-01-28 | 2017-02-10
DSPMTEGR | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID FOR PMT - COMMON EARTH | DSPMTEGR | 1999-02-05 | 2017-02-10
DSPMTEGS | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID (PADMOUNT TRANSFORMERS) | DSPMTEGS | 1999-01-21 | 2017-02-10
DSPMTEGSA | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD EARTH RODS AND Cu | DSPMTEGSA | 1998-11-25 | 2017-02-10
DSPMTEGSR | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD EARTH ROD | DSPMTEGSR | 1998-11-25 | 2017-02-10
DSRMEGT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | MATERIALS FOR RMU EARTH TAILS | DSRMEGT | 1993-09-29 | 2015-11-23
DSSQPMCEG | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SQ PADMOUNT COMMON EARTHING MODELS | DSSQPMCEG | 1999-10-04 | 2017-02-10
DSTFMRINSTAL | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | INSTALL TRANSFORMER IN OUTDOOR GT | DSTFMRINSTAL | 1993-10-14 | 2015-11-23
DSTFRMEN | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV MEN CABLE KIT FOR 11KV/415 TFMR | DSTFRMEN | 1993-12-21 | 2015-11-23
DSTFRMSEN | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | MEN+SEP EARTH KIT FOR 11KV/415 TFMR | DSTFRMSEN | 1995-01-12 | 2015-11-23
DSTFRSEN | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SEPERATE EARTH KIT FOR 11KV/433 TFMR | DSTFRSEN | 1995-09-05 | 2015-11-23
EXALRMAT1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EXALRMAT1 ALRM MOD; SGLE PT;5 FUNCT | EXALRMAT1 | 2010-02-01 | 2011-08-25
IEDMAT10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | STANDARD IEDx 10 CHANGEOVER MATERIALS | IEDMAT10 | 2013-12-17 | 2013-12-18
NL&S1-1 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | WARNING LABLES LABELS FOR DRY TYPE TRANS | NL&S1-1 | 2006-09-20 | 2009-07-31
PMT1250LINK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 1250 AMP LINK FOR PAD | PMT1250LINK | 2001-07-09 | 2015-11-23
PMT250LVCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 250 AMP LV CIRCUIT FOR PADS | PMT250LVCT | 2001-07-09 | 2015-11-23
PMT315LVCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 315 AMP LV CIRCUIT FOR PAD | PMT315LVCT | 2001-07-09 | 2015-11-23
PMT400LVCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 400 AMP LV CIRCUIT FOR PADS | PMT400LVCT | 2001-07-09 | 2015-11-23
PMT630LINK | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 630 AMP LINK FOR PADS | PMT630LINK | 2001-07-09 | 2015-11-23
PMT630LVCT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 630 AMP LV CIRCUIT FOR PADS | PMT630LVCT | 2001-07-09 | 2015-11-23
PMTASB | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | AUXILLARY SERVICE BOARD FOR PADS | PMTASB | 2001-07-09 | 2015-11-23
PMTCOMM | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TIME TO COMMISSION PADMOUNTED TFMR | PMTCOMM | 1997-08-25 | 2015-11-23
PMTF1200 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | FUSE UNIT FOR 200KVA PADMOUNT | PMTF1200 | 2001-07-09 | 2015-11-23
PMTF1300 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | FUSE UNIT FOR 300KVA PADMOUNT | PMTF1300 | 2001-07-09 | 2015-11-23
PMTF1500 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | FUSE UNIT FOR 500KVA PADMOUNT | PMTF1500 | 2007-01-29 | 2015-11-23
PMTR21000 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 2 RMU FOR 100KVA PAD | PMTR21000 | 2001-07-09 | 2015-11-23
PMTR2200 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 2 RING MAIN UNIT FOR 200KVA PAD | PMTR2200 | 2001-07-09 | 2015-11-23
PMTR2300 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 2 RING MAIN UNIT FOR 300KVA PAD | PMTR2300 | 2001-07-09 | 2015-11-23
PMTR2500 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 2 RING MAIN UNIT FOR 500KVA PAD | PMTR2500 | 2007-01-29 | 2015-11-23
PMTR2750 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 2 RMU FOR 750KVA PAD | PMTR2750 | 2001-07-09 | 2015-11-23
PMTR3200 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 3 RING MAIN UNIT FOR 200KVA PAD | PMTR3200 | 2001-07-09 | 2015-11-23
PMTR3300 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 3 RMU FOR 300KVA PAD | PMTR3300 | 2001-07-09 | 2015-11-23
PMTR3500 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TYPE 3 RMU FOR 500KVA PAD | PMTR3500 | 2001-07-09 | 2015-11-23
RMU_300 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | INSTALL RMU FOR 300 KVA TFMR | RMU_300 | 1999-06-23 | 2015-11-23
S17022 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | GT 11/433 V 500KVA (LOW IMP) AIR BOX | S17022 | 2010-02-05 | 2015-11-23
S17943 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12 KV LUCY OIL INSULATED O/D RMU (TOP) | S17943 | 2011-03-05 | 2015-11-23
S19362 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CFCF' INDOOR RMU | S19362 | 2009-11-27 | 2015-11-23
S19364 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CCC' INDOOR RMU | S19364 | 2009-11-27 | 2015-11-23
S19654 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CFCC' INDOOR RMU | S19654 | 2009-11-27 | 2015-11-23
S20729 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CCCC' INDOOR RMU | S20729 | 2009-11-27 | 2015-11-23
S20887 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CFC' TOP ENTRY INDOOR RMU | S20887 | 2009-11-27 | 2015-11-23
S20888 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CFCF' TOP ENTRY INDOOR RMU | S20888 | 2009-11-27 | 2015-11-23
S20889 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CCC' TOP ENTRY INDOOR RMU | S20889 | 2009-11-27 | 2015-11-23
S21106 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 'CFCC' TOP ENTRY INDOOR RMU | S21106 | 2009-11-27 | 2015-11-23
S21263 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12 KV LUCY OIL INSULATED O/D RMU | S21263 | 2011-03-05 | 2015-11-23
S21665 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | GT 11/433 V 750KVA (LOW IMP) AIR BOX | S21665 | 2011-02-01 | 2015-11-23
S21666 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | GT 11/433 V 1000KVA (LOW IMP) AIR BOX | S21666 | 2011-02-01 | 2015-11-23
S4602 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12KV 3PH 3SW 400A BKG CAP SWITCH FUSE | S4602 | 2011-03-05 | 2011-03-05
S4603 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12KV 3PH 3SW 400A BKG CAP SWITCH FUSE | S4603 | 2011-03-05 | 2011-03-05
S4604 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12KV 3PH 3SW 400A BKG CAP SWITCH FUSE | S4604 | 2011-03-05 | 2011-03-05
S920887 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK1 'CFC' TOP ENTRY RMU REPAIR | S920887 | 2015-03-02 | 2023-02-02
SC00020059 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 5KV PILOT CABLE ISOLATION CUBICLE | SC00020059 | 2012-07-19 | 2013-11-22
SC00021278 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 12KV 3PH 630A COMPACT ABB SAFEPLUS VFV | SC00021278 | 2012-03-30 | 2012-03-30
SC00022359 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD ON BUS VT PANEL TO SUIT OLD TYPE RMU | SC00022359 | 2012-03-30 | 2012-03-30
SC00022360 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ADD ON BUS VT PANEL TO SUIT NEW TYPE RMU | SC00022360 | 2012-03-30 | 2012-03-30
SC0007185 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | CABLE 300MM2 1 CORE /METRE | SC0007185 | 2011-03-18 | 2011-10-07
SC0015118 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV FUSE LINK 315A FOR ABB LV BD / EA | SC0015118 | 2014-09-16 | 2014-09-16
SC0018727 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | EARTH GRID CONNECTION (120mm2 to 70mm2) | SC0018727 | 2014-11-27 | 2014-11-27
SC0019346 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | CABLE XLPE 50MM BLACK 1C /M | SC0019346 | 2011-03-18 | 2013-03-06
SC0022291 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | RPS C & I SWGR ARC CONTAINMENT DOOR | SC0022291 | 2015-11-19 | 2015-11-19
SC0022297 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | RPS C & I SWGR BLAST SHEET/END PANEL | SC0022297 | 2015-11-19 | 2015-11-19
SC0023850 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SafePlus AFLR Switchgear VFV | SC0023850 | 2014-10-21 | 2015-11-23
SC0023851 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SafePlus AFLR Switchgear VFFV | SC0023851 | 2014-10-21 | 2015-11-23
SC0023852 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SafePlus AFLR Switchgear VFF-FV | SC0023852 | 2014-10-21 | 2015-11-23
SC0023853 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SafePlus AFLR Switchgear VFFV-FV | SC0023853 | 2014-10-21 | 2015-11-23
SC0024192 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SAFEPLUS AFLR VVVV-VV 6 WAY UNIT | SC0024192 | 2015-10-15 | 2015-11-23
SC0024196 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SAFEPLUS AFLR VVV-VV 5 WAY SWCH UNIT | SC0024196 | 2015-10-15 | 2015-11-23
SC0024199 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SAFEPLUS AFLR VVV 3 WAY SWCH UNIT | SC0024199 | 2015-10-15 | 2015-11-23
SC0024204 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB SAFEPLUS AFLR VVVV 4 WAY SWCH UNIT | SC0024204 | 2015-10-15 | 2015-11-23
SC0024902 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus METERING PANEL | SC0024902 | 2018-06-20 | 2018-06-20
SC0024975 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCF Indoor 1500kVA tran | SC0024975 | 2017-09-13 | 2018-03-21
SC0024976 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCFF for Indoor 2 x 1500kVA | SC0024976 | 2017-09-13 | 2018-03-21
SC0024977 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCF for Outdoor 1500kVA tra | SC0024977 | 2017-09-13 | 2018-03-21
SC0024978 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCFF for Outdoor 2 x 1500kV | SC0024978 | 2017-09-13 | 2018-03-21
SC0024979 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCFF for Indoor 2 x 1500kVA | SC0024979 | 2017-09-13 | 2018-03-21
SC0024997 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ABB Safeplus CCF for Indoor 1500kVA tran | SC0024997 | 2017-09-13 | 2018-02-16
SC0034074 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sw'craft iGIS ACC OD/E 4WAY | SC0034074 | 2013-03-07 | 2013-03-08
SC0034075 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | Sw'craft iGIS ACC RC READY OD/E 4WAY | SC0034075 | 2013-03-07 | 2013-03-08
SC0034123 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFC ID RMU | SC0034123 | 2013-03-27 | 2015-11-23
SC0034124 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFCF ID RMU | SC0034124 | 2013-03-27 | 2015-11-23
SC0034125 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFCC ID RMU | SC0034125 | 2013-03-27 | 2015-11-23
SC0034126 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCC ID 3 WAY SWITCH UNIT | SC0034126 | 2013-03-27 | 2015-11-23
SC0034127 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCCC ID 4 WAY SWITCH UNIT | SC0034127 | 2013-03-27 | 2015-11-23
SC0034128 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SHUNT TRIP CFC 240 VAC suit SAFELINK2 | SC0034128 | 2013-03-27 | 2016-11-01
SC0034129 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SHUNT TRIP CFCF 240 VAC suit SAFELINK2 | SC0034129 | 2013-03-27 | 2016-11-01
SC0034130 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SHUNT TRIP CFCC 240 VAC suit SAFELINK2 | SC0034130 | 2013-03-27 | 2016-11-01
SC0034131 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SHUNT TRIP CFC 48VDC VAC suit SAFELINK2 | SC0034131 | 2013-03-27 | 2016-11-01
SC0034132 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SHUNT TRIP CFC 110VDC VAC suit SAFELINK2 | SC0034132 | 2013-03-27 | 2016-11-01
SC0034138 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFC OD RMU | SC0034138 | 2013-03-27 | 2015-11-23
SC0034139 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFCF OD RMU | SC0034139 | 2013-03-27 | 2015-11-23
SC0034140 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFCC OD RMU | SC0034140 | 2013-03-27 | 2015-11-23
SC0034141 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCC OD 3 WAY SWITCH UNIT | SC0034141 | 2013-03-27 | 2015-11-23
SC0034142 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCCC OD 4 WAY SWITCH UNIT | SC0034142 | 2013-03-27 | 2015-11-23
SC0034143 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFC OD RMU RC | SC0034143 | 2013-03-27 | 2015-11-23
SC0034144 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFFC OD RMU RC | SC0034144 | 2013-03-27 | 2015-11-23
SC0034145 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFFCFC OD RMU RC | SC0034145 | 2013-03-27 | 2015-11-23
SC0034146 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCC OD 3 WAY SWITCH UNIT RC | SC0034146 | 2013-03-27 | 2015-11-23
SC0034147 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CCCC OD 4 WAY SWITCH UNIT RC | SC0034147 | 2013-03-27 | 2015-11-23
SC0034153 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC OD ENCLOSURE (3 WAY) | SC0034153 | 2013-03-27 | 2015-11-23
SC0034154 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC CONC PLINTH (3 WAY) | SC0034154 | 2013-03-27 | 2015-11-23
SC0034155 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 ACC REMOTE CONTROL KIT | SC0034155 | 2013-03-27 | 2015-11-23
SC0034156 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 ACC MOTOR ACTUATOR | SC0034156 | 2013-03-27 | 2015-11-23
SC0034200 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC OD ENCLOSURE (4 WAY) | SC0034200 | 2014-10-27 | 2015-11-23
SC0034201 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC OD ENCLOSURE (4 WAY CFCF) | SC0034201 | 2014-10-27 | 2015-11-23
SC0034202 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC CONC PLINTH (4 WAY) | SC0034202 | 2014-10-27 | 2015-11-23
SC0034203 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK2 ACC CONC PLINTH (4 WAY CFCF) | SC0034203 | 2014-10-27 | 2015-11-23
SC02468767 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFELINK 2 CFC ID-AF RMU no rear chimney | SC20468767 | 2018-10-04 | 2018-10-04
SC2480515 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB RAT PLUG3200A3WL1500KVA SC2480515 | SC2480515 | 2022-03-22 | 2022-03-22
SC2480523 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB RAT PLUG2000A3WL1000KVA | SC2480523 | 2022-03-22 | 2022-03-22
SC2480531 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB RAT PLUG 1600A3WL750KVA SC2480531 | SC2480531 | 2022-03-22 | 2022-03-22
SC2480549 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB RAT PLUG 1000A3WL500KVA SC2480549 | SC2480549 | 2022-03-22 | 2022-03-22
SC2480556 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB RAT PLUG 630A 3WL315KVA SC2480556 | SC2480556 | 2022-03-22 | 2022-03-22
SC2480564 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVMCCB1600A42KA1SUPGRETKIT3VA2 SC2480564 | SC2480564 | 2022-03-22 | 2022-03-22
SC2480572 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LVMCCB1600A42KA1SSTDRETKIT3VA2 SC2480572 | SC2480572 | 2022-03-22 | 2022-03-22
SC2480580 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB ADDFORDNP3RTUSICAMA8000 SC2480580 | SC2480580 | 2022-03-22 | 2022-03-22
SC2480598 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACBADDFOR61850RTUSICAMA8000 SC2480598 | SC2480598 | 2022-03-22 | 2022-03-22
SC2484871 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB 1600A 42KA 1SEC STD 3WL SC2484871 | SC2484871 | 2022-03-22 | 2022-03-22
SC2484889 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB 1600A 42KA 1SEC UPG 3WL SC2484889 | SC2484889 | 2022-03-22 | 2022-03-22
SC2484897 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB 3200A 65KA 1SEC STD 3WL SC2484897 | SC2484897 | 2022-03-22 | 2022-06-29
SC2484905 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV ACB 3200A 65KA 1SEC UPG 3WL SC2484905 | SC2484905 | 2022-03-22 | 2022-03-22
SC2484913 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | DC BUFF&CONVKITPLUGBLFORC10493 SC2484913 | SC2484913 | 2022-03-22 | 2022-03-22
SC2484921 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ARCFLTPROTSYSVAMP221CENTRLUNIT SC2484921 | SC2484921 | 2022-03-22 | 2022-03-22
SC2484939 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ARC FLT PROT SYSVAMP12LI/OUNIT SC2484939 | SC2484939 | 2022-03-22 | 2022-06-29
SC2484947 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 48VDC24VDCCONVNOTBI-DIRECTINAL SC2484947 | SC2484947 | 2022-03-22 | 2022-03-22
SC2484954 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | ZSI ZONESELECTINTERLCK MOD 3WL SC2484954 | SC2484954 | 2022-03-22 | 2022-03-22
SC2484962 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 240 V AC/24VDC5A POWER SUPPLY SC2484962 | SC2484962 | 2022-03-22 | 2022-03-22
SC2484970 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 24 V DC BUFFER, ONLY SC2484970 | SC2484970 | 2022-03-22 | 2022-10-05
SC2484988 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TERMCOVVERTGRPVS3BOTCONN630AFS SC2484988 | SC2484988 | 2022-03-22 | 2022-03-22
SC2484996 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LINK SOLID VERTIGROUPVS3 1250A SC2484996 | SC2484996 | 2022-03-22 | 2022-03-22
SC2485001 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | TERMCOVRFOR2xSWFUVS3BOTCN1260A SC2485001 | SC2485001 | 2022-03-22 | 2022-03-22
SC2485019 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV 2x630A SWFU PARALLEL KITVS3 SC2485019 | SC2485019 | 2022-03-22 | 2026-06-15
SC2485027 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV 630SWFUVS3BOTCONKIT2X300/PH SC2485027 | SC2485027 | 2022-03-22 | 2022-03-22
SC2485035 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV 630ASWFUVS3BOTCON2x240MM/PH SC2485035 | SC2485035 | 2022-03-22 | 2026-03-02
SC2485043 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV 1260ASWFUVS3BOT3x300MM2/PH SC2485043 | SC2485043 | 2022-03-22 | 2026-06-15
SC2485050 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | LV 160A SW FU VS3 BOT CON SC2485050 | SC2485050 | 2022-03-22 | 2022-03-22
SC2490399 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | DC BUFF&CNVKITPLUGHVLVSEPEARTH SC2490399 | SC2490399 | 2023-07-31 | 2023-07-31
SC2490761 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFEPLUS VVFV 12kV RMU | SC2490761 | 2024-10-18 | 2024-10-29
SC2490779 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SAFEPLUS VVFV 24kV RMU | SC2490779 | 2024-10-18 | 2024-10-29
UDMAT90 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | SUNDRY EARTHING MATERIALS / TRF,RMU,CFS | UDMAT90 | 2003-01-15 | 2015-11-23
WOODCABCLEAT | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | WOODEN CABLE CLEAT KIT | WOODCABCLEAT | 2006-08-30 | 2009-07-31
ZS90-10 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 33kV SURGE ARRESTORS AT ACR (SET OF 3) | ZS90-10 | 2009-03-19 | 2026-08-05
ZS90-11 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | 11KV SURGE ARRESTORS AT ACR (SET OF 3) | ZS90-11 | 2009-03-19 | 2026-08-05
ZZMAT13 | Active | ES | 10400. PROCURE SITE EQUIPMENT/MATERIALS | MINOR SUBS C&I MATERIALS ALLOWANCE $$$ | ZZMAT13 | 2007-04-13 | 2024-06-05